## Slide 1: Reverse transcription-quantitative PCR (RT-qPCR) without the need for removal of template DNA
BACKGROUND
The qualitative and/or quantitative analysis of transcripts by PCR amplification is widely used to detect and quantify many different types of transcripts such as messenger RNA, ribosomal RNA, non-coding RNA etc. The most common applications include gene expression analysis and precise identification of a particular microorganism.
For the purified RNA to be quantified, it is subjected to reverse transcription (RT), by which the RNA molecules are converted into cDNA (complementary DNA) by the reverse transcriptase enzyme. The main problem of most currently used protocols lies in the often-present DNA contamination, which is impossible to chemically differentiate from the cDNA by the polymerase enzyme during PCR amplification, thus causing false positive results. To overcome this limitation, all current protocols include a couple of DNA elimination steps, both during the purification of RNA as well as in subsequent RT step. The DNA is eliminated either with the aid of specific mechanical filters (silica-based columns) or through enzymatic digestion by a specific enzyme, such as DNaseI (Deoxyribonuclease I). However, these treatments are not 100% effective, often leaving DNA contamination. Furthermore, any procedure implemented to reduce the concentration of DNA in the sample certainly causes the reduction of the RNA concentration as well, which is unstable and easily degradable molecule.
Here we report a novel method for transcriptome analysis by PCR, wherein cDNA and template DNA are differentiated and thus contamination by the latter is excluded, hence producing more precise, reliable and reproducible results.
Damir Đermić1, Nunzia Santini2, Alessandro Esposito2, Maria Chiara Feliciello, Sven Ljubić1 and Isidoro Feliciello2
1Division of Molecular Biology, Ruđer Bošković Institute, Zagreb, Croatia
2Dipartimento di Medicina Clinica e Chirurgia, Universita' degli Studi di Napoli Federico II, Napoli, Italy
METHODS
The proposed method: Fig. 1, uses a modified primer (Modified Specific Primer, PSM) (Table 1) during the RT step of the protocol (Fig. 1A). Such a primer is specific for the RNA molecules to be quantified and its nucleotide sequence is designed to lack a perfect homology to the retro-transcribed template DNA. These modifications make the primer partially complementary to the target sequence but still able to hybridize at the temperatures of 37-42°C used during the RT step. However, the PSM will dissociate from the partially homologous genomic DNA sequence during the PCR step, once the operating temperature reaches around 60°C. The aim of using such conveniently modified specific primer is to achieve amplification specifically from cDNA template while successfully avoiding genomic DNA targets. During the phase following reverse transcription (Fig. 1B), the amplification of cDNA by PCR takes place using the same PSM from the previous step in addition to the unmodified specific primers (SP) starting from the opposite direction. Consequently, the resulting amplicon is a copy of the cDNA and not the DNA, due to the specifically selective annealing temperatures usually ranging from 55°C to 62°C.
mRNA isolation and reverse transcription: Escherichia coli wild type strain AB1157 harboring pID2 plasmid (a pACYC184 derivative carrying ssb gene under natural promoters) was grown in LB medium at 37oC. mRNA was isolated from logarithmically grown (OD600~0.4) bacteria using RNeasy® Plus Mini Kit (Qiagen) and RNAprotect™ Bacteria Reagent (Qiagen) according to the manufacturer’s instructions.
RNA was reverse-transcribed by the PrimeScript RT reagent kit with genomic DNA Eraser (perfect Real Time, Takara) using random and oligo dT primers mix.
Absolute quantification of RNA levels by dPCR: Microfluidic droplet digital PCR (dPCR) procedure was performed using the QIAcuity 2-plex instrument (Qiagen, Hilden, Germany). The dPCR reaction mixture was assembled using QIAcuity 3X Eva Green PCR Master Mix and a fixed concentration of cDNA template, which was transferred into the 24-well 8.5 K nanoplate. The amplification cycling protocol include 95 °C for 2 min for enzyme activation and the following 40 cycles of 15 s at 95 °C for denaturation, 15 s at 60 °C for annealing and 15 s at 72 °C for extension, and then a final step at 40 °C for 5 min. The experiments were performed using a negative control without reverse transcription enzyme. Data were analyzed using the QIAcuity Suite Software V1.1.3 (Qiagen) and the results are expressed in copies of cDNA/µL based on Poisson statistics analyses.
RESULTS
CONCLUSION
◊ Our novel method of using a modified primer during cDNA synthesis (RT) produces a cDNA-specific PCR signal that is unaffected by template DNA and therefore quantifies gene expression in a much more accurate and reliable fashion than the standard, commonly used method.
Project: HRZZ-IP-2019-04-3790
Fig. 2 Transcription of ssb gene in E. coli cells harboring ssb overexpression plasmid, determined by dPCR using current (A) and new method (B). Columns represent number of copies/µl and the plotted error bar shows whether or not the events differ with 95% Poisson confidence interval.
Fig. 1 Schematic illustration of the new method. A) Producing cDNA from DNA. Integration of PSM into cDNA by RT makes it a permanent part of the sequence. B) Amplification of target sequence by means of polymerase chain reaction. cDNA containing the PSM is properly amplified at certain discriminating temperature, while genomic DNA targets are successfully avoided.
Fig. 3 Absolute quantification of the E. coli sulA gene expression obtained by dPCR using current and new method. Columns represent number of copies/µl and the plotted error bar shows whether or not the events differ with 95% Poisson confidence interval.
Fig. 4 Absolute quantification of the E. coli recA gene expression obtained by dPCR using current and new method. Columns represent number of copies/µl and the plotted error bar shows whether or not the events differ with 95% Poisson confidence interval.
 | Forward | Reverse | PSM
ssb | GTTGTGCTGTTCGGCAAACT | GCGATCCTGACCGGATTGAT | GCGATCCTGACCGCAATCAA
sulA | CCTGAACCCATTCCCGACTC | GCCGGGCTTATCAGTGAAGT | CCTGAACCCATTCGCCAGTG
recA | AGGGCGTCACAGATTTCCAG | TTCCGGTAAAACCACGCTGA | AGGGCGTCACAGAATACGAC
Table 1 List of primers used in transcription analyses. Changes in PSM relative to reverse/forward primer are shown in red.